| Bus Shelters  City of Middletown  ADA Transition Plan Spring 2008 |
| --- |
| Location | Identified Barrier(s) | Recommended Corrective Action Based on ADAAG or Applicable Guideline | Priority: L=Low M=Medium H=High | *Cost Estimate | Barrier Removal Target Date & Notes |
| EXTERIOR FEATURES |
| RT 35 & Chestnut | Shelter is not on an accessible route No wheelchair seating area exists.( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall be installed or positioned so as to permit a wheelchair or mobility aid user to enter from the public way and to reach a location, having a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H H | $2,500 $5,000 |  |
| RT 35 & Chapel Hill Rd. | Shelter is not on an accessible route No wheelchair seating area exists.( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall be installed or positioned so as to permit a wheelchair or mobility aid user to enter from the public way and to reach a location, having a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H H | $2,500 $5,000 |  |
| RT 35 & Crestview | Shelter is not on an accessible route No wheelchair seating area exists.( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall be installed or positioned so as to permit a wheelchair or mobility aid user to enter from the public way and to reach a location, having a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H H | $2,500 $5,000 |  |
| RT 35 & New Monmouth Rd. | Shelter is not on an accessible route No wheelchair seating area exists.( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall be installed or positioned so as to permit a wheelchair or mobility aid user to enter from the public way and to reach a location, having a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H H | $2,500 $5,000 |  |
| RT 35 & Harmony Rd. | No wheelchair seating area exists.( | Where provided, new or replaced bus shelters shall be installed or positioned so as to permit a wheelchair or mobility aid user to enter from the public way and to reach a location, having a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H | $5,000 |  |
| RT 35 & Cherry Tree Farm Rd. | Shelter has been removed. | N/A | -- | -- |  |
| RT 35 & Twin Brooks Ave. | No shelter on site | N/A | -- | -- |  |
| RT 36 & Thompson Ave. | Shelter is not on an accessible route Wheelchair seating area is less than 40” deep( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H M | $2,500 $3,500 |  |
| RT 36 & Main St. | Shelter is not on an accessible route Wheelchair seating area is less than 40” deep( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H M | $2,500 $3,500 |  |
| RT 36 & Wilson Ave. | Wheelchair seating area is less than 40” deep( | Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | M | $3,500 |  |
| RT 36 & East Rd. | No accessible route exists from south side of road due to sidewalk ending. The north side off East street- curb ramp has a side slope up to 17%. The north corner of route to shelter is reduced to 12” due to grass. Wheelchair seating area is less than 40” deep( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). If a curb ramp is located where pedestrians must walk across the ramp, or where it is not protected by handrails or guardrails, it shall have flared sides; the maximum slope of the flare shall be 1:10 or 10% (4.7.5). The minimum clear width of an accessible route shall be 36” (4.3.3). Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2) | H H M+ M | $2,500 $500 $200 $3,500 |  |
| RT 36 & Earle/ Eastbound | Shelter is not on an accessible route Wheelchair seating area is less than 40” deep( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H M | $2,500 $3,500 |  |
| RT 36 & Earle/ Westbound | The route to access this shelter crosses Highway 36. A traffic light exists but there is no crossing button. Wheelchair seating area is less than 40” deep( | Recommendation: because this is a high trafficked highway, we recommend installing a crossing button for safety reasons. Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H M | $1,500 $3,500 |  |
| RT 36 & Appleton Ave. | Shelter is not on an accessible route Wheelchair seating area is less than 40” deep( | At least one accessible route within the boundary of the site shall be provided from public transportation stops, accessible parking, and accessible passenger loading zones, and public streets or sidewalks to the accessible building entrance they serve (4.3.2). Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H M | $2,500 $3,500 |  |
| Tindall Rd/ High School N. | Wheelchair seating area is less than 40” deep( | Where provided, new or replaced bus shelters shall have a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | M | $3,500 |  |
| Leonardville Rd/ Campbell’s Junction | No deficiencies were noted. | N/A | -- | -- |  |
| Newman Springs Rd/ Half Mile Rd. | No deficiencies were noted. | N/A | -- | -- |  |
| Brookdale College RT 520 | Shelter has been removed | N/A | -- | -- |  |
| St. Leo’s Church RT 520 | No wheelchair seating area exists.( | Where provided, new or replaced bus shelters shall be installed or positioned so as to permit a wheelchair or mobility aid user to enter from the public way and to reach a location, having a minimum clear floor area of 30” by 48”, entirely within the perimeter of the shelter (10.2). | H | $5,000 |  |

Many shelters are not on an accessible route or are only accessible from one direction.

Some shelters do not have wheelchair seating locations and others have wheelchair locations on short sides of shelters.

|  | Cost Estimate Totals |
| --- | --- |
| Low’s | $0 |
| Medium’s | $28,200 |
| High’s | $54,500 |
| TOTAL | $82,700.00* |

* Cost estimates are given as general guidance only.  Actual construction costs will vary depending on availability of materials and contractors used and the type of barrier removal utilized.

# Text boxes

No wheelchair location

Wheelchair location on short side