| Fairways Park  Middletown Township (N.J.)  ADA Transition Plan Lincroft Rd. (Near Bell Labs) Spring 2008 |
| --- |
| Location | Identified Barrier(s) | Recommended Corrective Action Based on ADAAG or Applicable Guideline | Priority: L=Low M=Medium H=High | *Cost Estimate | Barrier Removal Target Date & Notes |
| EXTERIOR FEATURES |
| Parking | No accessible spaces exist as the parking lot is gravel/dirt. | Minimum 1 “van accessible” space. Access aisles serving van spaces shall be at least 96” wide. Signs shall be located so they cannot be obscured by a vehicle parked in the space. Parking spaces and access aisles shall be level with surface slopes not exceeding 1:50 (2%) in all directions (4.1.2(5)(b) & 4.6). | H | $2,500 |  |
| Tennis Court | The route to the tennis court is rough and uneven gravel/dirt. The route crosses a 3”+ change in level( | Changes in level up to ¼” may be vertical and without edge treatment. Changes in level between ¼” and ½” shall be beveled with a slope no greater than 1:2. Changes in level greater than ½” shall be accomplished by means of a ramp. Ground and floor surfaces along accessible routes shall be stable, firm, slip-resistant (4.5.2 & 4.3.2). | M | $3,500 |  |

The route to the tennis court is rough dirt and gravel.

This route also has an excessive change in ground

surfaces.

| Priority Level | Cost Estimate Totals |
| --- | --- |
| Low’s | $0 |
| Medium’s | $3,500 |
| High’s | $2,500 |
| TOTAL | $6,000.00* |

* Cost estimates are given as general guidance only.  Actual construction costs will vary depending on availability of materials and contractors used and the type of barrier removal utilized.