| Grove House  Middletown Township (N.J.)  ADA Transition Plan West Front St. (Lincroft) Spring 2008 |
| --- |
| Location | Identified Barrier(s) | Recommended Corrective Action Based on ADAAG or Applicable Guideline | Priority: L=Low M=Medium H=High | *Cost Estimate | Barrier Removal Target Date & Notes |
| EXTERIOR FEATURES |
| Parking | There is no designated parking. | Recommendation: install at least 1 “van accessible” space with 96” minimum width access aisle near the entrance ramp. | H | $2,000 |  |
| Pedestrian Paths of Travel | The route to the entrance ramp is rough and uneven grass. | At least one accessible route shall connect accessible buildings, facilities, elements, and spaces that are on the same site. Ground and floor surfaces along accessible routes shall be stable, firm, slip-resistant and free of abrupt changes in level (4.3.2). | H | $2,500 |  |
|  |  | INTERIOR FEATURES |  |  |  |
|  |  | Note: the interior of this structure was completely gutted and unfinished upon time of inspection. Town staff was unsure of the future usage of the structure. |  |  |  |

| Priority Level | Cost Estimate Totals |
| --- | --- |
| Low’s | $0 |
| Medium’s | $0 |
| High’s | $4,500 |
| TOTAL | $4,500.00* |

* Cost estimates are given as general guidance only.  Actual construction costs will vary depending on availability of materials and contractors used and the type of barrier removal utilized.