| Stevenson Park  Middletown Township (N.J.)  ADA Transition Plan West Front Street Spring 2008 |
| --- |
| Location | Identified Barrier(s) | Recommended Corrective Action Based on ADAAG or Applicable Guideline | Priority: L=Low M=Medium H=High | *Cost Estimate | Barrier Removal Target Date & Notes |
| EXTERIOR FEATURES |
| Parking | Two spaces are designated as “van accessible”. | Recommendation: relocate accessible spaces closer to park amenities such as the walking trail and picnic area. | H | $1,000 |  |
| Pedestrian Paths of Travel | The route to the picnic areas and dock is rough and uneven grass. | At least one accessible route shall connect accessible buildings, facilities, elements, and spaces that are on the same site. Ground and floor surfaces along accessible routes shall be stable, firm, slip-resistant and free of abrupt changes in level (4.3.2). Recommendations: install at least 5% of accessible picnic tables and grills, but not less than one should be on an accessible route. | M | $8,000 |  |
| Stevenson House | This structure is privately owned. | No recommendations are being made due to owner ship. | -- | -- |  |

| Priority Level | Cost Estimate Totals |
| --- | --- |
| Low’s | $0 |
| Medium’s | $8,000 |
| High’s | $1,000 |
| TOTAL | $9,000.00* |

* Cost estimates are given as general guidance only.  Actual construction costs will vary depending on availability of materials and contractors used and the type of barrier removal utilized.