| Historic Train Station  Middletown Township (N.J.)  ADA Transition Plan Church Street Spring 2008 |
| --- |
| Location | Identified Barrier(s) | Recommended Corrective Action Based on ADAAG or Applicable Guideline | Priority: L=Low M=Medium H=High | *Cost Estimate | Barrier Removal Target Date & Notes |
| EXTERIOR FEATURES |
| Parking | Two lots exist on this property. The north lot lacks a “van accessible” space and access aisles are 60” wide. | At least 1 accessible space shall be designated as “van accessible” and be served with an access aisle at least 96” wide in the north lot. Two spaces shall share a common access aisle (4.1.2(5)(b) & 4.6). | H | $500 |  |
| Accessible Paths of Travel | The entrance ramp handrails lack adequate extensions. | If handrails are not continuous, they shall extend at least 12” beyond the top and bottom of the ramp segment and shall be parallel with the floor or ground surface (4.8.5). | H | $1,000 |  |

NOTE: this structure has employee access only.

| Priority Level | Cost Estimate Totals |
| --- | --- |
| Low’s | $0 |
| Medium’s | $0 |
| High’s | $1,500 |
| TOTAL | $1,500.00* |

* Cost estimates are given as general guidance only.  Actual construction costs will vary depending on availability of materials and contractors used and the type of barrier removal utilized.